# Kolkata Restaurant Licensing & Compliance Guide (Official Sources)

## Overview

This document covers restaurant licensing in Kolkata, West Bengal. Businesses must comply with KMC (Kolkata Municipal Corporation), West Bengal state, and central government regulations.

## 1. FSSAI License / Registration

All food businesses need FSSAI compliance. Turnover ≤ ₹12 lakh: Registration. > ₹12 lakh: State License. Online via FoSCoS. Display of FSSAI license at premises is mandatory.

## 2. KMC Trade License

Trade License from KMC mandatory. Apply through KMC e-services portal. Fee depends on area and type of business. Required: property deed/lease, NOC from building owner, ID proof, PAN. Annual renewal. Can be done online.

## 3. KMC Health License

Health License from KMC Health Department required. Inspection of premises for hygiene compliance. Clean water supply certificate needed. Pest control and waste management compliance. Medical fitness of food handlers.

## 4. Fire Safety License

Fire Safety License from West Bengal Fire & Emergency Services required for: Restaurants with area above 500 sq ft. Buildings above ground floor. Seating capacity above 50 persons. Requirements: Fire extinguishers — 1 per 1000 sq ft minimum. 2 exits mandatory for area above 800 sq ft. Exit width: minimum 1.0 meter. Staircase width: minimum 1.2 meters. Fire-resistant kitchen materials. Emergency exit lighting. Annual fire safety inspection.

## 5. Building Plan Sanction

Building plan sanction from KMC required for new construction or change of use. Plans prepared by registered architect (registered with Council of Architecture). FAR for commercial in Kolkata: 2.0 to 3.0 depending on road width and zone. Minimum floor height: 2.75 meters. Kolkata Municipal Corporation Building Rules apply. Heritage zone restrictions apply in certain areas (Esplanade, BBD Bagh, etc.).

## 6. West Bengal Excise License

ON-2 or ON-3 license from WB Excise Department for serving liquor. Minimum covered area: 750 sq ft for ON-2, 1000 sq ft for ON-3. Distance from religious/educational: 100 meters. Serving hours: 10 AM to midnight.

## 7. Police Permission

NOC from Kolkata Police for restaurants. Background verification. CCTV mandatory. Entertainment license if live music/performance.

## 8. Environmental NOC

NOC from West Bengal Pollution Control Board (WBPCB) for significant emissions. Kitchen exhaust compliance. Noise limits: 55 dB day, 45 dB night. Rainwater harvesting recommended for buildings above 500 sq meters.

## Key Compliance Checkpoints for Blueprint Review

Floor plan must clearly show: kitchen, dining, exits, restrooms, fire equipment. Kitchen must be present for food establishments. Minimum 2 exits for area above 800 sq ft. Heritage zone buildings may have height and facade restrictions. Parking as per KMC norms. Proper ventilation in kitchen area (exhaust system on plan).